## Info
This Analysis was done in partnership between Rocky Mountain Institute and Elevate Energy
Model Authors: Ana Sophia Mifsud (amifsud@rmi.org) and Louise Sharrow (louise.sharrow@elevateenergy.org)
Date: September 2020
Description: This analysis compares the long-term emissions implications of electrifying single family homes in Illinois within the Ameren, ComEd, and Mid American service territories.
Results:
- Across all electricity generation scenarios there are significant emissions benefits to electrifying single family homes
- Under all scenarios a heat pump installed in 2021 will have emissions savings compared to a gas or propane scenario
- High renewable penetration significantly increases the emissions benefits of electrification
Tab Descriptions
Tab Name | Description
Assumptions | Describes the key assumptions in the analysis.
Emission Results | Illustrates the emissions benefits of building electrification.
Generation Results | Illustrates the generation results across the three scenarios: Low Renewables, FEJA, and CEJA.
Sensitivities | Illustrates the results of four key sensitives
Data sources | Catalogs data sources used as input to this model.

## Assumptions
Key Factors & Assumptions
Energy Consumption
| Gas/Propane Scenario | Heat Pump Scenario
Heating Efficiency | 92% AFUE | Heating COP: 2.8 for Ameren territory; 2.6 for ComEd territory
Cooling efficiency | 13.9 SEER | 18 SEER
Water Heater Efficiency | Gas/Propane Water Heater Efficiency 0.63 Energy Factor | Heat pump water heater: 3.28 rated/labeled Energy Factor, but assumed to operate at about 2.80
Appliance Efficiency over time | Technology efficiency held constant through 2050 for all technology types
Other | Assume 94.9% of customers have gas heating and 5.1% of customers have propane
Electricity Generation Across Scenarios
| CEJA | FEJA | Low Renewables
Organic demand growth | 0% | 0% | 0%
Line losses | 6% | 6% | 6%
Renewable % | Compliant with CEJA targets starting in 2021. Between 2018 and 2020 renewable generation reflects historic renewable adoption. | Assumes compliance with FEJA starting in 2021. Between 2018 and 2020 renewable generation reflects historic renewable adoption. | Based on historic renewable energy growth
Nuclear Generation | Plants retire when license expires. No new nuclear is built and consumption from nuclear does not grow over time. No extra demand from building electrification can come from nuclear. | Plants retire when license expires. No new nuclear is built and consumption from nuclear does not grow over time. No extra demand from building electrification can come from nuclear. | Plants retire when license expires. No new nuclear is built and consumption from nuclear does not grow over time. No extra demand from building electrification can come from nuclear.
Coal | Coal rate of decrease: Coal generation decreases at a constant rate until 2030 when it reaches 0% of generation. Model constraints: Modeled coal generation cannot exceed available coal supply. Available coal supply was estimated using EIA coal generation data. For coal plants with announced retirement year, we used the announced retirement. For those that didn't have announced retirements, we assumed a 60 year life after the most recent generator was installed. For Jobba, we assumed the plant had undergone recent improvements and would retire 70 years after the last generator was installed. Only 85% of Prairie state generation capacity was available for use in our study, assuming that 15% of the plant's generation is controlled by municipalities. | Coal rate of decrease: Coal generation follow the rate of decrease from NREL's 2019 Standard Scenario model using their Low RE Cost and Low Gas Price scenario for IL. Model constraints: Modeled coal generation cannot exceed available coal supply. Available coal supply was estimated using EIA coal generation data. For coal plants with announced retirement year, we used the announced retirement. For those that didn't have announced retirements, we assumed a 60 year life after the most recent generator was installed. For Jobba, we assumed the plant had undergone recent improvements and would retire 70 years after the last generator was installed. Only 85% of Prairie state generation capacity was available for use in our study, assuming that 15% of the plant's generation is controlled by municipalities. | Coal rate of decrease: Coal generation follows the rate of decrease in NREL's 2019 Standard Scenario model using their Low RE Cost and Low Gas Price scenario for IL. Model constraints: Modeled coal generation cannot exceed available coal supply. Available coal supply was estimated using EIA coal generation data. For coal plants with announced retirement year, we used the announced retirement. For those that didn't have announced retirements, we assumed a 60 year life after the most recent generator was installed. For Jobba, we assumed the plant had undergone recent improvements and would retire 70 years after the last generator was installed. Only 85% of Prairie state generation capacity was available for use in our study, assuming that 15% of the plant's generation is controlled by municipalities.
Gas | Meets any generation needs not fulfilled by other electricity sources. | Meets any generation needs not fulfilled by other electricity sources. | Meets any generation needs not fulfilled by other electricity sources.
Assumed Single Family Homes Retrofitted Over Time
| 2030 | 2050
Number of Residential Single Family Homes Retrofitted (Cumulative) | 100000 | 500000
Retrofit Pace | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Number of single family homes retrofitted (2018-2050) | 0 | 0 | 0 | 10000 | 20000 | 30000 | 40000 | 50000 | 60000 | 70000 | 80000 | 90000 | 100000 | 120000 | 140000 | 160000 | 180000 | 200000 | 220000 | 240000 | 260000 | 280000 | 300000 | 320000 | 340000 | 360000 | 380000 | 400000 | 420000 | 440000 | 460000 | 480000 | 500000

## Emission Results
Description: Illustrates the emissions benefits of building electrification.
Emissions
Total Emissions
Assumption: Emissions from 500,000 Single-Family Homes Between 2021-2050
| Heat Pump Scenario Emissions: Increased electricity emissions due to electrification (lbs. of CO2) | Gas/Propane Scenario Emissions (lbs. of CO2) | Net Emissions Savings (Lbs. CO2) | Net Emissions Savings (Metric Tons CO2) | Percent Emission Reduction Compared to Gas/Propane Scenario (%)
Heat Pump - CEJA | 14382646834.1613 | 76166344098.2834 | 61783697264.1221 | 28019817.3533 | -81.12%
Heat Pump - FEJA | 25644987130.7592 | 76166344098.2834 | 50521356967.5242 | 22912180.0306 | -66.33%
Heat Pump - Low Renewables | 48949990117.1425 | 76166344098.2834 | 27216353981.1409 | 12343017.6785 | -35.73%
Annual Emissions Over Time
Assumption: Emissions from increased number of single-family homes starting with 10,000 in 2021 and totaling to 500,000 in 2050
Unit: Metric Tons of CO2
| 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Fossil Fuel Alternative | 0 | 0 | 0 | 51197.3813 | 102394.7625 | 153592.1438 | 204789.525 | 255986.9063 | 307184.2876 | 358381.6688 | 409579.0501 | 460776.4313 | 511973.8126 | 614368.5751 | 716763.3376 | 819158.1001 | 921552.8627 | 1023947.6252 | 1126342.3877 | 1228737.1502 | 1331131.9127 | 1433526.6752 | 1535921.4378 | 1638316.2003 | 1740710.9628 | 1843105.7253 | 1945500.4878 | 2047895.2503 | 2150290.0129 | 2252684.7754 | 2355079.5379 | 2457474.3004 | 2559869.0629
Heat Pump - Low Renewables | 0 | 0 | 0 | 36136.3975 | 71940.7908 | 107389.399 | 142456.4177 | 177113.8572 | 211331.3689 | 245076.0579 | 278312.2821 | 311001.4348 | 343101.7124 | 408619.4864 | 472909.4008 | 535874.3274 | 597409.0602 | 657399.6801 | 919936.8885 | 977128.6494 | 1029392.5843 | 1076572.5476 | 1118499.7047 | 1159231.7124 | 1194861.1901 | 1225175.0337 | 1249943.0502 | 1268916.6445 | 1281827.4081 | 1288385.6024 | 1288278.5296 | 1277125.1154 | 1258268.0566
Heat Pump - CEJA | 0 | 0 | 0 | 48140.9003 | 90732.5471 | 127774.9404 | 159268.0803 | 185211.9666 | 205606.5994 | 220451.9788 | 229748.1046 | 233494.977 | 211145.8713 | 240706.2932 | 266043.7978 | 287158.3849 | 304050.0546 | 316718.8069 | 325164.6417 | 329387.5592 | 329387.5592 | 325164.6417 | 316718.8069 | 304050.0546 | 287158.3849 | 266043.7978 | 240706.2932 | 211145.8713 | 177362.5319 | 139356.275 | 97127.1008 | 50675.0091 | 8.4346e-11
Heat Pump - FEJA | 0 | 0 | 0 | 34775.4808 | 66512.0263 | 95209.6367 | 120868.3119 | 143488.052 | 166846.7769 | 188425.8733 | 208225.3411 | 226245.1805 | 242485.3914 | 280304.6987 | 314564.749 | 345265.5423 | 372407.0787 | 395989.358 | 620226.3977 | 637359.61 | 647950.9881 | 652000.532 | 649508.2415 | 644714.2808 | 633908.5062 | 617090.9178 | 594261.5157 | 565420.2998 | 530567.2701 | 489702.4266 | 442825.7694 | 385893.6316 | 322612.7079
Marginal Emissions Factor
Unit: Lbs. CO2 / MWh
| 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Heat Pump - Low Renewables | 0 | 0 | 0 | 955.7958 | 951.4051 | 946.8048 | 941.9813 | 936.9207 | 931.6075 | 926.0259 | 920.1585 | 913.9873 | 907.4927 | 900.6542 | 893.4499 | 885.8562 | 877.8485 | 869.4003 | 1106.0013 | 1076.8638 | 1047.196 | 1016.9639 | 986.1316 | 958.1655 | 929.5202 | 900.1521 | 870.0153 | 839.0607 | 807.236 | 774.4858 | 740.7509 | 703.7404 | 665.6155
Heat Pump - CEJA | 0 | 0 | 0 | 1273.311 | 1199.923 | 1126.535 | 1053.1471 | 979.7591 | 906.3712 | 832.9832 | 759.5952 | 686.2073 | 558.4739 | 530.5502 | 502.6265 | 474.7028 | 446.7791 | 418.8554 | 390.9317 | 363.008 | 335.0843 | 307.1606 | 279.2369 | 251.3132 | 223.3896 | 195.4659 | 167.5422 | 139.6185 | 111.6948 | 83.7711 | 55.8474 | 27.9237 | 4.4619e-14
Heat Pump - FEJA | 0 | 0 | 0 | 919.8 | 879.6106 | 839.4212 | 799.2318 | 759.0424 | 735.5071 | 711.9718 | 688.4365 | 664.9012 | 641.3659 | 617.8306 | 594.2953 | 570.76 | 547.2247 | 523.6894 | 745.672 | 702.4147 | 659.1573 | 615.9 | 572.6426 | 532.89 | 493.1374 | 453.3848 | 413.6321 | 373.8795 | 334.1269 | 294.3743 | 254.6217 | 212.6408 | 170.66
Lifetime Emissions of HP
Assumption: Lifetime emissions of HP installed between 2021-2035
Unit: Lbs. of CO2
| 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Heat Pump - Low Renewables | 123870.4243 | 124879.2603 | 125677.4669 | 126262.0897 | 126629.9856 | 126807.0152 | 126789.6215 | 126574.0206 | 126156.1869 | 125531.838 | 124696.4182 | 123645.0809 | 122372.6703 | 120855.1343 | 119086.6378
Heat Pump- CEJA | 101166.5387 | 93581.16 | 86374.6263 | 79546.9376 | 73098.0939 | 67028.0951 | 61336.9414 | 56024.6326 | 51091.1688 | 46536.55 | 42813.626 | 39090.702 | 35367.778 | 31644.854 | 27921.93
Heat Pump- FEJA | 93650.419 | 91838.9888 | 90001.9942 | 88139.4352 | 86251.3117 | 84366.828 | 82347.2084 | 80192.4529 | 77902.5616 | 75477.5343 | 72917.3712 | 70222.0722 | 67391.6373 | 64407.4994 | 61269.6585
Gas | 167648.2682 | 167648.2682 | 167648.2682 | 167648.2682 | 167648.2682 | 167648.2682 | 167648.2682 | 167648.2682 | 167648.2682 | 167648.2682 | 167648.2682 | 167648.2682 | 167648.2682 | 167648.2682 | 167648.2682
Propane | 199243.5187 | 199243.5187 | 199243.5187 | 199243.5187 | 199243.5187 | 199243.5187 | 199243.5187 | 199243.5187 | 199243.5187 | 199243.5187 | 199243.5187 | 199243.5187 | 199243.5187 | 199243.5187 | 199243.5187

## Generation Results
Description: Illustrates the generation results across the three scenarios: CEJA, FEJA, and Low Renewables.
Generation Scenarios
Electric CEJA
CEJA projected generation in reference scenario
Unit: GWh
| Generating Sources | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
| Renewable | 5975.4564 | 6356.8375 | 6762.5602 | 12220.2379 | 16833.8947 | 21447.5515 | 26061.2083 | 30674.8651 | 35288.5219 | 39902.1787 | 44515.8356 | 49129.4924 | 61339.338 | 65087.8531 | 68836.3682 | 72584.8833 | 76333.3984 | 80081.9135 | 83830.4286 | 87578.9437 | 91327.4588 | 95075.9739 | 98824.489 | 102573.0041 | 106321.5192 | 110070.0343 | 113818.5494 | 117567.0645 | 121315.5796 | 125064.0947 | 128812.6098 | 132561.1249 | 136309.64
| Nuclear | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 36248.5489 | 36248.5489 | 32996.6235 | 32996.6235 | 29973.2859 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 19958.2279 | 15909.8796 | 11924.1305 | 11924.1305 | 3840.3576 | 0 | 0 | 0
| Coal | 46981.4143 | 43066.2965 | 37025.0248 | 35236.0608 | 31320.9429 | 27405.825 | 23490.7072 | 19575.5893 | 15660.4714 | 11745.3536 | 7830.2357 | 3915.1179 | 4.7292e-12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other | 3823.4794 | 3703.9956 | 3584.5119 | 3465.0282 | 3345.5444 | 3226.0607 | 3106.577 | 2987.0933 | 2867.6095 | 2748.1258 | 2628.6421 | 2509.1583 | 2389.6746 | 2270.1909 | 2150.7071 | 2031.2234 | 1911.7397 | 1792.256 | 1672.7722 | 1553.2885 | 1433.8048 | 1314.321 | 1194.8373 | 1075.3536 | 955.8698 | 836.3861 | 716.9024 | 597.4187 | 477.9349 | 358.4512 | 238.9675 | 119.4837 | 2.7193e-12
| Gas | 39909.6752 | 43562.8957 | 49317.9284 | 45768.6984 | 45189.6432 | 44610.588 | 44031.5328 | 43452.4776 | 42873.4224 | 42294.3672 | 45086.3777 | 44507.3225 | 39584.0039 | 35954.9725 | 35349.2787 | 37970.4707 | 34341.4393 | 30712.4079 | 27083.3765 | 23454.3452 | 19825.3138 | 16196.2824 | 12567.2511 | 8938.2197 | 5309.1883 | 5444.9916 | 5864.3086 | 6221.0264 | 2591.995 | 7046.7366 | 7258.0627 | 3629.0314 | 0
CEJA projected generation in electrification scenario
Unit: GWh
| Generating Sources | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
| Renewable | 5975.4564 | 6356.8375 | 6762.5602 | 12228.1566 | 16855.7112 | 21489.2452 | 26128.7583 | 30774.2507 | 35425.7223 | 40083.1732 | 44746.6033 | 49416.0127 | 61736.8129 | 65593.9711 | 69460.8454 | 73337.4358 | 77223.7421 | 81119.7646 | 85025.5031 | 88940.9576 | 92866.1282 | 96801.0149 | 100745.6176 | 104699.9364 | 108663.9712 | 112637.7221 | 116621.189 | 120614.372 | 124617.271 | 128629.8861 | 132652.2172 | 136684.2644 | 140726.0276
| Nuclear | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 36248.5489 | 36248.5489 | 32996.6235 | 32996.6235 | 29973.2859 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 19958.2279 | 15909.8796 | 11924.1305 | 11924.1305 | 3840.3576 | 0 | 0 | 0
| Coal | 46981.4143 | 43066.2965 | 37025.0248 | 35258.8935 | 31361.5344 | 27459.1014 | 23551.5945 | 19639.0136 | 15721.3587 | 11798.63 | 7870.8273 | 3937.9506 | 4.7598e-12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other | 3823.4794 | 3703.9956 | 3584.5119 | 3467.2735 | 3349.8802 | 3232.3321 | 3114.6291 | 2996.7713 | 2878.7587 | 2760.5912 | 2642.2688 | 2523.7916 | 2405.1595 | 2287.8437 | 2170.2182 | 2052.2829 | 1934.038 | 1815.4834 | 1696.619 | 1577.445 | 1457.9613 | 1338.1678 | 1218.0647 | 1097.6519 | 976.9294 | 855.8971 | 734.5552 | 612.9036 | 490.9423 | 368.6712 | 246.0905 | 123.2001 | 2.8074e-12
| Gas | 39909.6752 | 43562.8957 | 49317.9284 | 45824.0295 | 45299.5549 | 44774.3299 | 44248.3544 | 43721.6285 | 43194.1521 | 42665.9252 | 45508.0137 | 44978.286 | 40054.3216 | 36491.1347 | 35941.879 | 38610.1027 | 35018.6968 | 31417.8845 | 27807.6658 | 24188.0408 | 20559.0094 | 16920.5717 | 13272.7276 | 9615.4772 | 5948.8204 | 6037.592 | 6400.4708 | 6691.3441 | 2987.0619 | 7357.1462 | 7474.4089 | 3741.9076 | 0
CEJA added generation mix (electrification minus reference)
Unit: % of added generation
| Generating Sources | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
| Renewable | 0% | 0% | 0% | 8.965% | 12.35% | 15.73% | 19.12% | 22.5% | 25.89% | 29.27% | 32.66% | 36.04% | 45% | 47.75% | 50.5% | 53.25% | 56% | 58.75% | 61.5% | 64.25% | 67% | 69.75% | 72.5% | 75.25% | 78% | 80.75% | 83.5% | 86.25% | 89% | 91.75% | 94.5% | 97.25% | 100%
Nuclear | bar: 2018 to 2050
| Coal | 0% | 0% | 0% | 25.85% | 22.98% | 20.11% | 17.23% | 14.36% | 11.49% | 8.617% | 5.744% | 2.872% | 3.469e-15% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
| Other | 0% | 0% | 0% | 2.542% | 2.454% | 2.367% | 2.279% | 2.191% | 2.104% | 2.016% | 1.928% | 1.841% | 1.753% | 1.665% | 1.578% | 1.49% | 1.402% | 1.315% | 1.227% | 1.14% | 1.052% | 0.9642% | 0.8766% | 0.7889% | 0.7012% | 0.6136% | 0.5259% | 0.4383% | 0.3506% | 0.263% | 0.1753% | 0.08766% | 1.995e-15%
| Gas | 0% | 0% | 0% | 62.64% | 62.22% | 61.79% | 61.37% | 60.94% | 60.52% | 60.09% | 59.67% | 59.24% | 53.25% | 50.58% | 47.92% | 45.26% | 42.6% | 39.94% | 37.27% | 34.61% | 31.95% | 29.29% | 26.62% | 23.96% | 21.3% | 18.64% | 15.97% | 13.31% | 10.65% | 7.987% | 5.325% | 2.662% | 0%
Electric FEJA
FEJA projected generation in reference scenario
Unit: GWh
| Generating Sources | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
| Renewable | 5975.4564 | 6356.8375 | 6762.5602 | 12225.5301 | 17688.5001 | 23151.4701 | 28614.44 | 34077.41 | 37212.5317 | 40347.6534 | 43482.7752 | 46617.8969 | 49753.0186 | 52888.1403 | 56023.262 | 59158.3838 | 62293.5055 | 65428.6272 | 68563.7489 | 71698.8706 | 74833.9924 | 77969.1141 | 81104.2358 | 84239.3575 | 87374.4792 | 90509.601 | 93644.7227 | 96779.8444 | 99914.9661 | 103050.0878 | 106185.2096 | 109320.3313 | 112455.453
| Nuclear | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 36248.5489 | 36248.5489 | 32996.6235 | 32996.6235 | 29973.2859 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 19958.2279 | 15909.8796 | 11924.1305 | 11924.1305 | 3840.3576 | 0 | 0 | 0
| Coal | 46981.4143 | 46088.8384 | 37025.0248 | 37025.0248 | 37025.0248 | 33742.0248 | 33742.0248 | 32618.3438 | 27782.4548 | 27782.4548 | 27782.4548 | 27782.4548 | 27782.4548 | 27782.4548 | 27782.4548 | 26185.7758 | 26185.7758 | 26185.7758 | 24474.5175 | 22508.5199 | 20542.5223 | 18576.5247 | 16610.5271 | 14993.8982 | 13377.2692 | 11760.6403 | 10144.0113 | 8527.3824 | 6910.7534 | 5294.1245 | 3677.4956 | 1838.7478 | 0
| Other | 3823.4794 | 3703.9956 | 3584.5119 | 3465.0282 | 3345.5444 | 3226.0607 | 3106.577 | 2987.0933 | 2867.6095 | 2748.1258 | 2628.6421 | 2509.1583 | 2389.6746 | 2270.1909 | 2150.7071 | 2031.2234 | 1911.7397 | 1792.256 | 1672.7722 | 1553.2885 | 1433.8048 | 1314.321 | 1194.8373 | 1075.3536 | 955.8698 | 836.3861 | 716.9024 | 597.4187 | 477.9349 | 358.4512 | 238.9675 | 119.4837 | 2.7193e-12
| Gas | 39909.6752 | 40540.3538 | 49317.9284 | 43974.4422 | 38630.9559 | 36570.4697 | 31226.9835 | 27007.1782 | 28827.4292 | 25811.7912 | 26167.219 | 23151.581 | 23387.8685 | 20372.2305 | 20379.93 | 25211.1944 | 22195.5564 | 19179.9184 | 17875.5387 | 16825.8983 | 15776.2579 | 14726.6176 | 13676.9772 | 12277.9681 | 10878.9591 | 13244.7847 | 15894.124 | 18480.8641 | 17081.855 | 23766.6189 | 26207.9674 | 25031.0772 | 23854.187
FEJA projected generation in electrification scenario
Unit: GWh
| Generating Sources | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
| Renewable | 5975.4564 | 6356.8375 | 6762.5602 | 12233.4522 | 17711.4242 | 23196.4761 | 28688.6079 | 34187.8197 | 37357.2126 | 40530.6685 | 43708.1876 | 46889.7697 | 50075.4149 | 53299.3943 | 56531.4999 | 59771.7317 | 63020.0896 | 66276.5736 | 69541.1838 | 72813.9202 | 76094.7827 | 79383.7714 | 82680.8862 | 85986.1272 | 89299.4943 | 92620.9876 | 95950.607 | 99288.3526 | 102634.2243 | 105988.2222 | 109350.3462 | 112720.5964 | 116098.9728
| Nuclear | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 36248.5489 | 36248.5489 | 32996.6235 | 32996.6235 | 29973.2859 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 19958.2279 | 15909.8796 | 11924.1305 | 11924.1305 | 3840.3576 | 0 | 0 | 0
| Coal | 46981.4143 | 46088.8384 | 37025.0248 | 37025.0248 | 37025.0248 | 33742.0248 | 33742.0248 | 32618.3438 | 27782.4548 | 27782.4548 | 27782.4548 | 27782.4548 | 27782.4548 | 27782.4548 | 27782.4548 | 26185.7758 | 26185.7758 | 26185.7758 | 24823.4227 | 22858.5689 | 20888.6192 | 18913.5738 | 16933.4325 | 15304.8085 | 13671.9942 | 12034.9897 | 10393.7949 | 8748.4099 | 7098.8346 | 5445.069 | 3787.1132 | 1895.9396 | 0
| Other | 3823.4794 | 3703.9956 | 3584.5119 | 3467.2735 | 3349.8802 | 3232.3321 | 3114.6291 | 2996.7713 | 2878.7587 | 2760.5912 | 2642.2688 | 2523.7916 | 2405.1595 | 2287.8437 | 2170.2182 | 2052.2829 | 1934.038 | 1815.4834 | 1696.619 | 1577.445 | 1457.9613 | 1338.1678 | 1218.0647 | 1097.6519 | 976.9294 | 855.8971 | 734.5552 | 612.9036 | 490.9423 | 368.6712 | 246.0905 | 123.2001 | 2.8074e-12
| Gas | 39909.6752 | 40540.3538 | 49317.9284 | 44052.6025 | 38780.3516 | 36784.1756 | 31498.0744 | 27328.7292 | 29201.5657 | 26234.605 | 26634.8019 | 23660.0247 | 23933.2648 | 21003.2567 | 21088.7697 | 25990.031 | 23036.5735 | 20075.2996 | 18468.5624 | 17456.5094 | 16441.7358 | 15424.2415 | 14404.0266 | 13024.4779 | 11641.3031 | 14019.3368 | 16677.2578 | 19268.9536 | 17871.2739 | 24553.7411 | 26989.1666 | 25809.636 | 24627.0548
FEJA added generation mix (electrification minus reference)
% of added generation
| Generating Sources | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
| Renewable | 0% | 0% | 0% | 8.969% | 12.98% | 16.98% | 20.99% | 25% | 27.3% | 29.6% | 31.9% | 34.2% | 36.5% | 38.8% | 41.1% | 43.4% | 45.7% | 48% | 50.3% | 52.6% | 54.9% | 57.2% | 59.5% | 61.8% | 64.1% | 66.4% | 68.7% | 71% | 73.3% | 75.6% | 77.9% | 80.2% | 82.5%
Nuclear | bar: 2018 to 2050
| Coal | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 17.96% | 16.51% | 15.07% | 13.63% | 12.19% | 11% | 9.814% | 8.628% | 7.442% | 6.256% | 5.07% | 3.884% | 2.698% | 1.349% | 0%
| Other | 0% | 0% | 0% | 2.542% | 2.454% | 2.367% | 2.279% | 2.191% | 2.104% | 2.016% | 1.928% | 1.841% | 1.753% | 1.665% | 1.578% | 1.49% | 1.402% | 1.315% | 1.227% | 1.14% | 1.052% | 0.9642% | 0.8766% | 0.7889% | 0.7012% | 0.6136% | 0.5259% | 0.4383% | 0.3506% | 0.263% | 0.1753% | 0.08766% | 1.995e-15%
| Gas | 0% | 0% | 0% | 88.49% | 84.57% | 80.65% | 76.73% | 72.81% | 70.6% | 68.38% | 66.17% | 63.96% | 61.75% | 59.53% | 57.32% | 55.11% | 52.9% | 50.69% | 30.52% | 29.75% | 28.98% | 28.21% | 27.44% | 26.41% | 25.38% | 24.36% | 23.33% | 22.31% | 21.28% | 20.25% | 19.23% | 18.36% | 17.5%
Electric Low Renewables
Low Renewable projected generation in reference scenario
Unit: GWh
| Generating Sources | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
| Renewable | 5975.4564 | 6356.8375 | 6762.5602 | 7194.1779 | 7653.3434 | 8141.815 | 8661.4632 | 9214.2776 | 9802.3752 | 10428.008 | 11093.5714 | 11801.6142 | 12554.8476 | 13356.1558 | 14208.6071 | 15115.4659 | 16080.2045 | 17106.5172 | 18198.3338 | 19359.8353 | 20595.4691 | 21909.9668 | 23308.3617 | 24796.0087 | 26378.6041 | 28062.2081 | 29853.2674 | 31758.6404 | 33785.623 | 35941.977 | 38235.9595 | 40676.3545 | 43272.5067
| Nuclear | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 36248.5489 | 36248.5489 | 32996.6235 | 32996.6235 | 29973.2859 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 19958.2279 | 15909.8796 | 11924.1305 | 11924.1305 | 3840.3576 | 0 | 0 | 0
| Coal | 46981.4143 | 46088.8384 | 37025.0248 | 37025.0248 | 37025.0248 | 33742.0248 | 33742.0248 | 32618.3438 | 27782.4548 | 27782.4548 | 27782.4548 | 27782.4548 | 27782.4548 | 27782.4548 | 27782.4548 | 26185.7758 | 26185.7758 | 26185.7758 | 24474.5175 | 22508.5199 | 20542.5223 | 18576.5247 | 16610.5271 | 14993.8982 | 13377.2692 | 11760.6403 | 10144.0113 | 8527.3824 | 6910.7534 | 5294.1245 | 3677.4956 | 1838.7478 | 0
| Other | 3823.4794 | 3703.9956 | 3584.5119 | 3465.0282 | 3345.5444 | 3226.0607 | 3106.577 | 2987.0933 | 2867.6095 | 2748.1258 | 2628.6421 | 2509.1583 | 2389.6746 | 2270.1909 | 2150.7071 | 2031.2234 | 1911.7397 | 1792.256 | 1672.7722 | 1553.2885 | 1433.8048 | 1314.321 | 1194.8373 | 1075.3536 | 955.8698 | 836.3861 | 716.9024 | 597.4187 | 477.9349 | 358.4512 | 238.9675 | 119.4837 | 2.7193e-12
| Gas | 39909.6752 | 40540.3538 | 49317.9284 | 49005.7944 | 48666.1126 | 51580.1247 | 51179.9603 | 51870.3106 | 56237.5857 | 55731.4367 | 58556.4227 | 57967.8637 | 60586.0395 | 59904.215 | 62194.5849 | 69254.1123 | 68408.8574 | 67502.0284 | 68240.9538 | 69164.9337 | 70014.7812 | 70785.7649 | 71472.8512 | 71721.3169 | 71874.8342 | 75692.1776 | 79685.5793 | 83502.0681 | 83211.1981 | 90874.7297 | 94157.2175 | 93675.054 | 93037.1333
Low Renewable projected generation in electrification scenario
Unit: GWh
| Generating Sources | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
| Renewable | 5975.4564 | 6356.8375 | 6762.5602 | 7198.8397 | 7663.2621 | 8157.6426 | 8683.9135 | 9244.1316 | 9840.4865 | 10475.3089 | 11151.0799 | 11870.4406 | 12636.2022 | 13460.0122 | 14337.5063 | 15272.1814 | 16267.7621 | 17328.2154 | 18457.7667 | 19660.9164 | 20942.4581 | 22307.4972 | 23761.4717 | 25310.1735 | 26959.7716 | 28716.8366 | 30588.3668 | 32581.816 | 34705.1232 | 36966.7443 | 39375.6854 | 41941.539 | 44674.5217
| Nuclear | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 39619.6147 | 36248.5489 | 36248.5489 | 32996.6235 | 32996.6235 | 29973.2859 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 23723.0626 | 19958.2279 | 15909.8796 | 11924.1305 | 11924.1305 | 3840.3576 | 0 | 0 | 0
| Coal | 46981.4143 | 46088.8384 | 37025.0248 | 37025.0248 | 37025.0248 | 33742.0248 | 33742.0248 | 32618.3438 | 27782.4548 | 27782.4548 | 27782.4548 | 27782.4548 | 27782.4548 | 27782.4548 | 27782.4548 | 26185.7758 | 26185.7758 | 26185.7758 | 24823.4227 | 22858.5689 | 20888.6192 | 18913.5738 | 16933.4325 | 15304.8085 | 13671.9942 | 12034.9897 | 10393.7949 | 8748.4099 | 7098.8346 | 5445.069 | 3787.1132 | 1895.9396 | 0
| Other | 3823.4794 | 3703.9956 | 3584.5119 | 3467.2735 | 3349.8802 | 3232.3321 | 3114.6291 | 2996.7713 | 2878.7587 | 2760.5912 | 2642.2688 | 2523.7916 | 2405.1595 | 2287.8437 | 2170.2182 | 2052.2829 | 1934.038 | 1815.4834 | 1696.619 | 1577.445 | 1457.9613 | 1338.1678 | 1218.0647 | 1097.6519 | 976.9294 | 855.8971 | 734.5552 | 612.9036 | 490.9423 | 368.6712 | 246.0905 | 123.2001 | 2.8074e-12
| Gas | 39909.6752 | 40540.3538 | 49317.9284 | 49087.2151 | 48828.5137 | 51823.009 | 51502.7689 | 52272.4173 | 56718.2918 | 56289.9646 | 59191.9095 | 58679.3539 | 61372.4775 | 60842.6388 | 63282.7633 | 70489.5812 | 69788.901 | 69023.6579 | 69551.9796 | 70609.5132 | 71594.0604 | 72500.5157 | 73323.4411 | 73700.4316 | 73981.0257 | 77923.4877 | 82039.498 | 85975.4901 | 85800.375 | 93575.219 | 96963.8274 | 96588.6934 | 96051.5059
Low Renewable generation mix (electrification minus reference)
% of added generation
| Generating Sources | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
| Renewable | 0% | 0% | 0% | 5.278% | 5.615% | 5.973% | 6.354% | 6.76% | 7.191% | 7.65% | 8.139% | 8.658% | 9.211% | 9.798% | 10.42% | 11.09% | 11.8% | 12.55% | 13.35% | 14.2% | 15.11% | 16.07% | 17.1% | 18.19% | 19.35% | 20.59% | 21.9% | 23.3% | 24.79% | 26.37% | 28.05% | 29.84% | 31.75%
Nuclear | bar: 2018 to 2050
| Coal | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 17.96% | 16.51% | 15.07% | 13.63% | 12.19% | 11% | 9.814% | 8.628% | 7.442% | 6.256% | 5.07% | 3.884% | 2.698% | 1.349% | 0%
| Other | 0% | 0% | 0% | 2.542% | 2.454% | 2.367% | 2.279% | 2.191% | 2.104% | 2.016% | 1.928% | 1.841% | 1.753% | 1.665% | 1.578% | 1.49% | 1.402% | 1.315% | 1.227% | 1.14% | 1.052% | 0.9642% | 0.8766% | 0.7889% | 0.7012% | 0.6136% | 0.5259% | 0.4383% | 0.3506% | 0.263% | 0.1753% | 0.08766% | 1.995e-15%
| Gas | 0% | 0% | 0% | 92.18% | 91.93% | 91.66% | 91.37% | 91.05% | 90.7% | 90.33% | 89.93% | 89.5% | 89.04% | 88.54% | 88% | 87.42% | 86.8% | 86.14% | 67.47% | 68.14% | 68.77% | 69.33% | 69.84% | 70.02% | 70.13% | 70.17% | 70.13% | 70.01% | 69.79% | 69.49% | 69.08% | 68.72% | 68.25%

## Sensitivities
Description: Illustrates emissions results of four key sensitivities and compares it to the baseline model. Results of baseline model reflected in "Emission Results" and "Generation Results" tabs.
Sensitivity 1: No air conditioning in gas/propane scenario
Unit: lbs. of CO2
|  | Heat Pump Scenario Emissions: Increased electricity emissions due to electrification | Gas/Propane Scenario Emissions | Net Emissions Savings | Decrease in Emissions Savings Compared to Baseline Model
| CEJA | 17217562827.3322 | 76166344098.2834 | 58948781270.9512 | 2834915993.1709
| FEJA | 30699785805.8522 | 76166344098.2834 | 45466558292.4312 | 5054798675.093
| Low Renewables | 58598360924.5965 | 76166344098.2834 | 17567983173.6869 | 9648370807.454
Conclusion: There are more emissions savings if the fossil fuel alternative scenario also has associated emissions related to electric air conditioning. However, even when it does not the heat pump alternative has emissions savings in every scenario compared to the gas/propane scenario.
Technical Note: Note that despite electric cooling being removed from the gas/propane scenario, the emissions associated with this scenario remain constant. This is because, the emissions associated to the heat pump scenario account for the net electricity increase between the two scenarios. For this reason, the heat pump scenario emissions have increased in this sensitivity.
Sensitivity 2: Half as much heat pump adoption
Unit: lbs. of CO2
|  | Heat Pump Scenario Emissions: Increased electricity emissions due to electrification | Gas/Propane Scenario Emissions | Net Emissions Savings | Decrease in Emissions Savings Compared to Baseline Model
| CEJA | 7191323417.0804 | 38083172049.1417 | 30891848632.0612 | 30891848632.0608
| FEJA | 12822493565.3794 | 38083172049.1417 | 25260678483.7622 | 25260678483.762
| Low Renewables | 24474995058.5711 | 38083172049.1417 | 13608176990.5706 | 13608176990.5703
Conclusion: at low rates, reductions in heat pump adoption lead to proportional reductions in emission savings.
Sensitivity 3: Aggressive heat pump adoption
|  | 2030 | 2050
| Residential Single Family | 1132792.7205 | 3236550.63
Unit: lbs. of CO2
|  | Increased Electricity Emissions Due to Electrification | Gas Emissions | Net Emissions Savings | Increase in Emissions Savings Compared to Baseline Model
| CEJA | 125365237465.4999 | 575204534277.5566 | 449839296812.0568 | 388055599547.9347
| FEJA | 202410526548.3028 | 575204534277.5566 | 372794007729.2538 | 322272650761.7296
| Low Renewables | 372037042825.9719 | 575204534277.5566 | 203167491451.5847 | 175951137470.4438
Conclusion: An substantial increase in electrification has a significant emissions benefit.
Sensitivity 4: Delayed heat pump adoption (wait until 2025 to intervene)
Unit: lbs. of CO2
|  | Increased Electricity Emissions Due to Electrification (lbs. of CO2) | Gas Emissions (lbs. of CO2) | Net Emissions Savings (Lbs. CO2) | Decrease in Emissions Savings Compared to Baseline Model
| CEJA | 8588736358.0947 | 54952606779.0578 | 46363870420.963 | 15419826843.159
| FEJA | 17391363481.9971 | 54952606779.0578 | 37561243297.0607 | 12960113670.4635
| Low Renewables | 34865058047.9744 | 54952606779.0578 | 20087548731.0834 | 7128805250.0575
Conclusion: Waiting until 2025 to install heat pumps in single family homes (at the same rate of adoption of baseline) will lead to 80,000 fewer all-electric homes by 2050 and fewer emissions savings.

## Data Sources
Description: Catalogs data sources used as input to this model.
Data | Source | Link | Notes
Organic Demand growth | Illinois Power Agency procurement plans | https://www2.illinois.gov/sites/ipa/Pages/Current_Approved_Plan.aspx
Line loss | Utility Annual SEC 10-K Filings | https://www.sec.gov/edgar/searchedgar/companysearch.html
Bundled 2018 Demand for Ameren, ComEd, and MidAmerica | EIA Form 861 | https://www.eia.gov/electricity/data/eia861/ | Bundled customers
Demand supplied by ARES in 2018 | EIA Form 861 | https://www.eia.gov/electricity/data/eia861/ | Energy (delivery only) customers
ComEd 2018 Generation mix | Illinois Commerce Commission Environmental Disclosure Report for the 12 months ending in December 31, 2018 (dated March 26,2019) | https://www.icc.illinois.gov/industry-reports/environmental-disclosure
Ameren 2018 Generation mix | Illinois Commerce Commission Environmental Disclosure Report for the 12 months ending in December 31, 2018 (dated March 28,2019) | https://www.icc.illinois.gov/industry-reports/environmental-disclosure
MidAmerica 2018 Generation mix | Illinois Commerce Commission Environmental Disclosure Report for MidAmerican Energy Company for 12 months ending December 31, 2018 (dated March 29,2019) | https://www.icc.illinois.gov/industry-reports/environmental-disclosure | "Other" as reported to ICC was extrapolated to other categories based on MISO mix
PJM Generation Mix 2018 | PJM Generation Attribute Tracking System | https://gats.pjm-eis.com/GATS2/PublicReports/PJMSystemMix/Filter | Assumed ComEd ARES mix was similar to PJM generation mix
Miso Generation Mix 2019 | MISO State of the Market Report | https://cdn.misoenergy.org/2018%20State%20of%20the%20Market%20Report364567.pdf | Assumed MidAmerica and Amren ARES mix was similar to MISO generation mix
Nuclear License Data | US NRC | https://www.nrc.gov/reactors/operating/list-power-reactor-units.html
Coal retirement | NREL 2019 ReEDS model | https://www.nrel.gov/analysis/standard-scenarios.html | Used NREL ReEDS model assumptions for base assumptions of IL coal retirement rates in the FEJA and Low Renewable scenarios. We used NREL's forecast of Illinois's future grid mix in a scenario with both low renewable energy and gas costs.
Coal generation | EIA-923 Report
Coal capacity factor | 2018 Form EIA-860 Data - Schedule 3, 'Generator Data'
Coal operational year | 2018 Form EIA-860 Data - Schedule 3, 'Generator Data'
Coal Estimated retirement year | Announced retirements or annual year + 60 years of operation per LBNL average retirement age. | https://emp.lbl.gov/sites/default/files/lbnl_retirements_data_synthesis_final.pdf | Note that Joppa 1-6 plant has already exceeded it's 60 year life so we assumed improvements done to the plant that allow it to retire 70 years after it's operation year
Historic renewables growth | EIA Electricity Data Browser | https://www.eia.gov/electricity/data/browser/ | Annual net generation, historic growth rate from 2017 (FEJA passed) to 2019. As of now, FEJA is not hitting annual goals, see for example https://www2.illinois.gov/sites/ipa/Documents/Draft%20Revised%20Plan%20-%20Summer%202019/Revised%20LTRRPP%20for%20filing%20%2821%20Oct%202019%206pm%29-compressed%20%281%29.pdf
Housing Unit Counts | ACS 2018 5-yr estimates |  | MidAmerican units extrapolated, not known from data
Utility Customer Counts | EIA Form 861 |  | Bundled + Delivery Customers
Residential gas combustion emissions factors | EIA Carbon Dioxide Coefficients | https://www.eia.gov/environment/emissions/co2_vol_mass.php | CO2 only
Electricity Generation Emissions Factors | EIA - Co2 emissions by fuel, 2018 | https://www.eia.gov/tools/faqs/faq.php?id=74&t=11 | National factors, actual CO2 emissions per KWh from specific power plants may vary considerably from the factors in the table. Petroleum factor used for "Other" fuel source.