## Cover
Objective | This tool serves as an Evaluation Matrix, accompanying the RFP template included in the Toolkit. The tool is used to evaluate bidders' proposals to an RFP.
User Guide | The DisCo should assess each bidder's bid against the criteria mentioned in the Request for Proposal (RFP) document. The DisCo will then score and rank each bidder and choose a preferred bidder based on their evaluation. Additionally, the DisCo has the authority to modify the evaluation criteria and weighting in the RFP tempate and this document before sending it out to the bidders.

## Stage 2 RFP Score Weighting
Phase / Criteria | Weighting | Requirements to Move to the Next Phase
Phase 1 – Proposal Responsiveness | N/A – All bids must be compliant | Bidders must be compliant with Phase 1 requirements to move forward to Phase 2
Phase 2 – Technical Evaluation | 40% | Bidders must pass the minimum points threshold in Phase 2 to move forward to Phase 3
Phase 3 – Financial Evaluation | 60% | N/A
TOTAL | 100%

## REG RFP Scoring Matrix
Pass/Fail
| Phase 1: Determination of Proposal Responsiveness | Pass or Fail? | EXAMPLE | [Company Name #1] | [Company Name #2] | [Company Name #3] | [Company Name #4] | [Company Name #5] | [Company Name #6] | [Company Name #7] | [Company Name #8] | [Company Name #9] | [Company Name #10]
1 | It is not received by the due date and time established in the RFP; | Required to Pass | Pass | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected
2 | It is not submitted in the required format; | Required to Pass | Pass | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected
3 | Any required document outlined in Clause 10.1 is missing; | Required to Pass | Pass | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected
4 | Proposal is not signed by an authorized officer, or | Required to Pass | Pass | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected
5 | 12.5.1.5. Bidder does not participate in mandatory site walk | Required to Pass | Pass | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected
6 | Bidder information does not match information submitted in Stage 1 RFQ or the Bidder has flagged any changes and those changes are unacceptable to Ikeja Electric; | Required to Pass | Pass | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected
7 | Proposal fails to comply with any other specific requirements of the RFP. | Required to Pass | Pass | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected
|  |  | Passes Phase | Does Not Pass Phase | Does Not Pass Phase | Does Not Pass Phase | Does Not Pass Phase | Does Not Pass Phase | Does Not Pass Phase | Does Not Pass Phase | Does Not Pass Phase | Does Not Pass Phase | Does Not Pass Phase
Points Received
| Phase 2: Technical Evaluation of Project | Points Possible | EXAMPLE | [Company Name #1] | [Company Name #2] | [Company Name #3] | [Company Name #4] | [Company Name #5] | [Company Name #6] | [Company Name #7] | [Company Name #8] | [Company Name #9] | [Company Name #10]
1 | Proposed Generation Technology and System Design | 55 | 45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
a | Proposed generation technologies are solar PV generation, battery storage, and thermal generation. (Gas generation) | Pass/Fail | Pass | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected | Not Selected
b | The proposed solar PV, battery storage, and thermal generator (Gas generator) capacities are suitable for the load profile provided in Exhibit B | 20 | 20
c | Proposed brands/models for the Plant components (solar PV, battery energy storage system, the thermal generator (Gas generator), the inverter, and the energy management system) have all demonstrated successful commercial use and are compliant with relevant Nigerian technical standards. | 15 | 10
d | Proposed energy management system to be used is suitable for the purpose and the technical proposal explains how the EMS will support seamless integration of output from all power sources. | 10 | 5
e | Key assumptions supporting system design are reasonable, and most of the notable risks that would require modification of the design have been identified and adequate mitigation strategies have been proposed. | 10 | 10
2 | Expected Generation Output | 40 | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
a | Energy modeling output shows that the expected hourly electricity output of the proposed Embedded Generation System is sufficient to meet Premium Customer demand at all times. | 20 | 20
b | Energy modeling output shows that the peak solar PV generation capacity is sufficient to supply the peak total load of the REG Customers. | 20 | 15
3) | Embedded Generation Connection Equipment Design and Description | 20 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
a | Suitability and feasibility of the connection between the Embedded Generation System and the Delivery Point (electrical schematic diagrams, protection single-line diagrams etc.) including compliance with technical codes. | 20 | 20
4 | Suitability of Site Layout, Site Investigations, and Implementation Considerations | 45 | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
a | The proposed site layout and location is suitable for the Embedded Generation System or modifications have been made to improve site suitability. | 15 | 15
b | Site plan shows that the site is suitable for enabling the solar PV to reach its peak output or that mitigation measures have been developed for any occurrences that could prevent the solar PV installation from reaching its peak output | 10 | 10
c | Inclusion of necessary investigations to be completed on the Embedded Generation System Site or the REG Cluster and any other relevant studies to demonstrate suitability or confirm technical design fit (e.g., Environmental and Social Management Plan, etc.) | 10 | 5
d | Inclusion of evidence that evidence that site conditions have been duly considered and that the proposed site does not lead to any impediments to successful delivery and installation of the Embedded Generation System. | 10 | 5
5 | Operations and Maintenance | 60 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
a | Proposed operations and maintenance plan for the Plant and the Embedded Generator's Connection Equipment will sufficiently maintain electrical output and reliability standards from the Embedded Generation System, and includes a suitable process for identifying and replacing non-performing equipment. | 20 | 20
b | Proposed operations and maintenance plan has accounted for maintaining thermal generation appropriately, including fuel storage. | 5 | 5
c | Approach for monitoring performance of the Embedded Generation System is suitable. | 15 | 15
d | Proposed process for collaborating with the DisCo to maintain the Dedicated Network is suitable. | 10 | 5
e | Proposed process for collaborating with DisCo to implement the Revnue Protection measures is suitable. | 10 | 5
6 | Project Implementation Plan | 60 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
a | Proposed implementation schedule for financing, engineering, procurement, shipping, construction, startup, testing etc. is reasonable for the system design. | 15 | 15
b | Proposed Date of Commercial Operation is less than 12 months from the date on which NERC grants an Embedded Generation License. | 15 | 15
c | The Project execution plan is reasonable and demonstrates how the Bidder plans to execute the Project within the timeline shown in the project implementation schedule. | 20 | 15
d | Risk assessment identifies key risks that could impact the Project Implementation Schedule, evaluates the likelihood and severity of these risks, and proposes an adequate mitigation strategy for risks identified. | 10 | 5
| Total Points Possible | 280
| Minimum Points Required to Proceed to Phase 3 | 225
| Total Points Received by Bidder |  | 235 | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail
| Is Minimum Threshold Met to Advance to Phase 3? |  | Pass | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail
| Phase 3: Financial Evaluation of Project | Points Possible
1 | Financial Proposal | 200 | 165 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
a | The proposed REG Tariff schedule is suitable and is based on the Energy Consumption profile provided in Exhibit B | 60 | 60
b | The proposed REG Tariff is reflective of all the Embedded Generator's capital and operational costs for the Embedded Generation System including the cost of the Necessary Prior Grid Upgrades, the REG Metering System, and the Embedded Generator's Connection Equipment | 20 | 15
c | A financial model which shows the assumptions for all the Embedded Generator’s capital and operational costs, market conditions, and any other factor that has a material impact on the REG Tariff is provided. The financial model uses the inflation and exchange rate indices that were specified. | 60 | 40
d | The tariff design methodology is clearly explained, reasonable, and suitable for the Project Design | 60 | 50
2 | Financing Information | 160 | 115 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
a | The bidder has provided a breakdown of funding sources and proof of ability to finance the Project, including a breakdown of expected funding sources and supporting documentation. | 100 | 80
b | The two most recent audited annual financial statements are provided | 30 | 15
c | Availability of funding is aligned with the timeline in the Project Schedule | 30 | 20
3 | Proposed Power Purchase Agreement Edits | 60 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
a | Any redlined changes to the Agreement are reasonable and acceptable. | 60 | 40
| Total Points Possible | 420
| Total Points Received by Bidder |  | 320 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| WEIGHTED SCORE | 100 | 79.2857 | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail
| Weight of Phase 2 Score (Technical Evaluation) | 40%
| Weight of Phase 3 Score (Financial Evaluation) | 60%

## Sheet3 (hidden)
Not Selected
Pass
Fail